Architectural Material Specification

FIESTA RUBBER FLOOR TILE

All tile floors shown in the finish schedule or listed in this specification as rubber tile flooring shall be ROPPE FIESTA RUBBER TILE, manufactured by Roppe Corporation, Fostoria, Ohio. The tile shall conform to ASTM F-1344, Class 1. The tile shall be ______     (1/8" {3.175mm} or 3/16" {4.76mm}) thick and size ________ (12" x 12" {304.8mm x 304.8mm} or 19-11/16" x 19-11/16" {50cm x 50cm} in 1/8" only). The color shall be _________ (insert color name & number)