Architectural Material Specifications

All floors shown in the finish schedule or listed in this specification for heavy traffic areas shall be Roppe’s SPIKE/SKATE RESISTANT RUBBER TILE, manufactured by Roppe Corporation, Fostoria, Ohio. The tile shall be homogeneously constructed of first-quality resilient rubber compound, and shall conform to ASTM F-1344, Class 1. The tile shall be 19-11/16" x 19-11/16” (50cm x 50cm) size, 3/8” (9.00mm) gauge and in the color _________ (insert color) selected.