Architectural Material Specifications

SMOOTH FINISH RUBBER FLOOR TILE

All floors shown in the finish schedule or listed in this specification for heavy traffic areas shall be Roppe’s _______ (insert design name) RUBBER TILE, manufactured by Roppe Corporation, Fostoria, Ohio. The tile shall be homogeneously constructed of first-quality resilient rubber compound, and shall conform to ASTM F-1344, Class 1. The tile shall be ________ (insert size selected) (12" x 12" {304.8mm x 304.8mm} or 9-11/16" x 19-11/16" {50cm x 50cm}. The tile shall be _____ (insert gauge selected {1/8" (3.175mm) or 3/16” (4.762 mm)} gauge size, and in the color _________ ((insert color name and number, plain {P} or marbleized {M}) selected).