Architectural Material Specifications

ROPPE TUFLEX TITAN RECYCLED RUBBER TILE

Roppe Tuflex Titan Recycled Rubber Tile shown in the finish schedule or listed herein as Roppe Tuflex Titan Recycled Rubber Tile shall be _________ (3/8” {9.00mm}) in nominal thickness, furnished by Roppe Corporation, Fostoria, Ohio. Each shall be smooth and contain no asbestos fiber. Tuflex Titan Recycled Rubber Tile shall be __________ (27” x 27” {685.8mm x 685.8mm} Square Tile and/or 27” x 27” nominal {685.8mm x 685.8mm} Inter-Locking Tiles, and in the color __________ (list color) selected.

ROPPE TUFLEX SPARTUS RECYCLED RUBBER TILE

Roppe Tuflex Spartus Recycled Rubber Tile shown in the finish schedule or listed herein as Roppe Tuflex Spartus Recycled Rubber Tile shall be _________ (3/8” {9.00mm}) in nominal thickness, furnished by Roppe Corporation, Fostoria, Ohio. Each shall be smooth and contain no asbestos fiber. Tuflex Spartus Recycled Rubber Tile shall be __________ (27” x 27” {685.8mm x 685.8mm} Square Tile and/or 27” x 27” nominal {685.8mm x 685.8mm} Inter-Locking Tiles, and in the color __________ (list color) selected.